IFC GLOBAL LLC 3001 SW 3rd Ave, Miami, FL 33129 Phone: +1 (305) 429-1890 info@ifcglobal.us www.ifcglobal.us

The content of this report is confidential outside the organization and IFC GLOBAL. Reproduction and distribution of all or part of this report outside of the organization's employees or IFC GLOBAL is possible with written agreement before distribution (excluding UAF and Judicial Bodies). The nonconformities in this report reflect the results of the sampling method and therefore do not mean that there are no other nonconformities.

ORGANIZATION INFORMATION

{{ company_name }} {{ company_address }} Tel: {{ phone }} ¦ E-mail: {{ email }}

SCOPE

{{ scope_en }}

| Device class | Class Is | Class Im | Class Ir | Class IIa | Class IIb | Class III |
| --- | --- | --- | --- | --- | --- | --- |

| Report Number | {{ plan_number }} |  |
| --- | --- | --- |
| Report Date | {{ report_date }} |  |
| Standard(s) | {{ standards_str }} |  |
| Lead Auditor | {{ lead_auditor_name }} |  |
| Auditor | {{ auditors[0].name if auditors¦length > 0 else "" }} |  |
| Auditor | {{ auditors[1].name if auditors¦length > 1 else "" }} |  |
| Technical Expert | {{ technical_experts[0].name if technical_experts¦length > 0 else "" }} |  |
| Evaluated |  |  |
| Evaluator |  |  |
| Observer | {{ observers[0].name if observers¦length > 0 else "" }} |  |
| Organization Representative | {{ representative }} |  |

| Audit Date(s) | {{ audit_dates }} | Audit/Day Number | {{ audit_days }} |
| --- | --- | --- | --- |

| Audit Type | {{ "☑" if is_initial else "☐" }} Initial Certification {{ "☑" if is_surveillance else "☐" }} Surveillance {{ "☑" if is_recertification else "☐" }} Recertification {{ "☑" if is_special else "☐" }} Special |
| --- | --- |

| Audit Objectives | a) Determination of the conformity of the organization's management system, or parts of it, with audit criteria, b) Determination of the ability of the management system to ensure the organization meets applicable statutory, regulatory, and contractual requirements, c) Determination of the effectiveness of the management system to ensure the organization can reasonably expect to achieve its specified objectives, d) As applicable, identification of areas for potential improvement of the management system. |
| --- | --- |
| Auditing Criteria |  |

| SITE(S) |  |  |
| --- | --- | --- |
|  |  | Date(s) |
| Site Address | {{ sites[0].address if sites else "" }} | {{ audit_dates }} |
| {%tr if sites¦length > 1 %} |  |  |
|  | {{ sites[1].address }} | {{ audit_dates }} |
|  |  | {%tr endif %} |
| {%tr if sites¦length > 2 %} |  |  |
|  | {{ sites[2].address }} | {{ audit_dates }} |
|  |  | {%tr endif %} |
| *If the number of sites is more than 3, as many lines as required can be added. |  |  |

| NOT-APPLICABLE CLAUSES |  |  |
| --- | --- | --- |
| Clause No | Reasons | Result |

REPORT SUMMARY

* If any, unresolved issues should be specified.

| Total Major Non-Conformity |  | Total Critical Non-Conformity |  | Total Minor Non-Conformity |  |
| --- | --- | --- | --- | --- | --- |

| GENERAL |  |
| --- | --- |
| Employee number | {{ total_employees }} |
| Subcontractor employee number | {{ subcontractors }} |
| Effective employee number | {{ effective_employees }} |
| Conformity of documentation scope |  |
| The state of achieving the audit objective |  |
| Any deviations from the plan and its reasons if any |  |
| Conditions affecting the audit program if any |  |
| Changes, that affect the organization's management system since the last audit, if any |  |
| Unresolved issues if any |  |
| Type of audit, if appropriate | Combine Joint Integrated |
| Efficiency control of corrective actions for nonconformities identified in the previous audit |  |

| Logo use in accordance with accreditation rules | Suitable | Unsuitable |
| --- | --- | --- |
| * If your answer is No, please write the reason. |  |  |

| Evaluation on demonstration of energy performance improvement (EnMS) | Yes | No |
| --- | --- | --- |
| * If your answer is No, please write the reason. |  |  |

| OBSERVATIONS |  |
| --- | --- |
| No | Good Observations |
| No | Areas for Improvement |
| 1. |  |
| 2. |  |
| 3. |  |
| 4. |  |

| FINDINGS |  |  |  |
| --- | --- | --- | --- |
| No | Standard/Clause Number | Nonconformity Degree | Nonconformity Statement |

| AUDIT TEAM RECOMMENDATION |  |
| --- | --- |
| Initial Certification | Issuing a certificate |
|  | Following up the nonconformities on a document basis and issuing a certificate if the deficiencies are completed. |
|  | Following up the nonconformities with on-site audit and issuing a certificate if the deficiencies are completed. |
|  | Not issuing a certificate |
| Surveillance | Continuation of certification |
|  | Following up the nonconformities on a document basis and the continuation of certification if the deficiencies are completed. |
|  | Following up the nonconformities with on-site audit, and continuation of certification if the deficiencies are completed. |
|  | Suspension of certification |
|  | Withdrawal of certification |
| Recertification | Renewal of certification |
|  | Following the nonconformities on a document basis and renewing the certification if the deficiencies are completed. |
|  | Following the nonconformities with on-site inspection and renewal of certification if the deficiencies are completed. |
|  | Non-renewal of certification |
| Special | Change of scope |
|  | Change of Address |
| Lead Auditor |  |
| Signature |  |
| [SIG:LEAD_AUDITOR] |  |

| ISO 13485:2016 |  |  |
| --- | --- | --- |
| Requirements | Findings | Conclusion ( ✓ / NC / OBS) |
| Evaluation of Previous Audit Results |  |  |
| Have the nonconformities identified in the Stage 1 inspection been resolved? |  |  |
| Have the nonconformities identified in the previous audit been resolved? |  |  |
| Standard clauses |  |  |
| 4.1 General Requirements |  |  |
| 4.1.1. Determining the Scope of the Quality Management System |  |  |
| Has the company provided the necessary documentation for its quality management system? Does it maintain and implement its effectiveness in accordance with the standard and applicable legal requirements? |  |  |
| the roles of the organization documented according to the applicable legal requirements? (Manufacturer, authorized representative, distributor, importer, etc.) |  |  |
| 4.1.2. Quality Management System and Processes |  |  |
| Have the necessary processes for the QMS been determined? |  |  |
| Has a risk-based approach been applied to control the appropriate processes required for the QMS? |  |  |
| Have the sequence of these processes and their interactions been determined? |  |  |
| 4.1.3. Monitoring and Measurement of Processes |  |  |
| Have the necessary criteria and methods been determined for evaluating the operation and effectiveness of each QMS process? |  |  |
| Has the availability of information and resources required to operate and monitor these processes been ensured? |  |  |
| Are the activities necessary to maintain the effectiveness of these processes and achieve the planned results implemented? |  |  |
| Are these processes analyzed, measured and monitored where appropriate? |  |  |
| Does it create and maintain relevant records to demonstrate compliance with applicable legal requirements and standards? |  |  |
| 4.1.4. Continuity of Processes |  |  |
| Are QMS processes managed by the organization in accordance with the standard and applicable legal requirements? |  |  |
| Are changes made to the QMS process evaluated according to the following? |  |  |
| - Impact on QMS |  |  |
| - Impact on medical devices manufactured under this QMS |  |  |
| - Checking compliance with applicable legal requirements and standard requirements |  |  |
| 4.1.5. Outsourced Processes |  |  |
| Is there an outsourced process for the product? |  |  |
| Are external processes that affect the product's conformity to requirements monitored and controlled by the organization? |  |  |
| Does the organization fulfill and maintain its responsibilities to the standard, applicable legal requirements, and its customers for outsourced processes? |  |  |
| Are these controls commensurate with the risk inherent in the outsourced process and consistent with the external organization's ability to meet the requirements in clause 7.4? Do these controls include written quality requirements? |  |  |
| 4.1.6. Computer Software |  |  |
| Have validation procedures been established by the organization for computer software used in the implementation of the QMS ? |  |  |
| Are these software applications validated before their first use and, if applicable, are these software and their applications revalidated after changes? |  |  |
| Have software validation and re-validation activities and specific approaches been established that are proportionate to the risks associated with software use? |  |  |
| Are records kept of these activities? |  |  |
| 4.2. Documentation Requirements |  |  |
| 4.2.1. General |  |  |
| the quality policy and objectives documented? |  |  |
| Has a quality manual been created? |  |  |
| Have mandatory procedures been established? |  |  |
| Does it contain the documents required by the organization to ensure the control, implementation and effective planning of these processes and have the relevant records been defined by the organization? |  |  |
| documentation required for applicable legal requirements specified? |  |  |
| 4.2.2. Quality Manual |  |  |
| Has the Scope been specified, including details and justifications for any exclusions or non-applications? |  |  |
| documented procedures or references to them established for the QMS? |  |  |
| Have the interactions between QMS processes been defined? |  |  |
| Does the quality manual include the structure of the documentation used within the QMS? |  |  |
| 4.2.3. Medical Device File |  |  |
| Has the organization prepared one or more technical files to demonstrate compliance with this standard and applicable legal requirements for each medical device type and medical device product group? Does the technical file include, but is not limited to, the following? |  |  |
| - The device's general description, intended use and label including instructions for use |  |  |
| - product -related features, |  |  |
| - Product-related features, features or procedures related to production, packaging, storage, shipping and distribution, |  |  |
| - procedures for measurement and monitoring, |  |  |
| - installation requirements, if applicable, |  |  |
| - service-related procedures, if applicable |  |  |
| 4.2.4. Document Control |  |  |
| Document control? Are the following controls specified in this procedure? |  |  |
| a) Are documents reviewed and approved before publication? |  |  |
| b) Are documents reviewed, updated and approved when necessary? |  |  |
| c) Have the changes identified in the documents and current revision information been identified? |  |  |
| Is there a document that includes the documents in use and shows their current versions? |  |  |
| documented in a readable and easily distinguishable manner? |  |  |
| f) Are externally sourced documents identified and distributed in a controlled manner? |  |  |
| g) Have precautions been taken against damage and loss of documents? |  |  |
| Has the misuse of outdated documents been prevented and identified? |  |  |
| Are past decisions and related information taken into consideration when reviewing and approving changes to the document? |  |  |
| the organization defined the retention period for at least one of the revoked documents? This period ensures that the documentation on the manufacture and testing of medical devices is available for at least the life of the medical device as defined by the organization, but is not less than the retention period of any resulting records, or has it determined in accordance with applicable legal requirements? |  |  |
| 4.2.5. Control of Records |  |  |
| Are records kept that must be kept regarding the requirements and the effective operation of the quality management system? |  |  |
| Has the organization established procedures to define the controls required for the organization, backup, security and integrity, retrieval, and retention period of records? |  |  |
| Has the organization defined and implemented methods to protect confidential health information contained in records in accordance with applicable legislation? |  |  |
| Are the records legible, easily identifiable, and understandable? Are changes to the record identified? |  |  |
| Are records kept by the organization in accordance with the period specified in legal requirements for the life of the identified medical device, but not less than two years from the release of the medical device? (15 years for implantable devices, 10 years for non- implantable devices) |  |  |
| 5. Management Responsibility |  |  |
| 5.1. Management's commitment |  |  |
| Has top management established a commitment to the development, implementation and maintenance of effectiveness of the quality management system, including: - meeting legal requirements and customer requirements; - To establish the quality policy; - Ensuring the establishment of quality objectives; - Conducting management reviews; - ensuring the availability of resources |  |  |
| 5.2. Customer Focus |  |  |
| Top management ensures that customer requirements and applicable legal requirements are identified and met. does it provide assurance? |  |  |
| 5.3. Quality Policy |  |  |
| Is it compatible with the organization's purpose? |  |  |
| Does it include a commitment to comply with the requirements and maintain the effectiveness of the quality management system? |  |  |
| Is there a structure that allows the establishment/review of quality objectives? |  |  |
| Has it been communicated and understood within the organization? |  |  |
| Is its continued suitability reviewed? |  |  |
| 5.4. Planning |  |  |
| 5.4.1. Quality objectives |  |  |
| Does top management ensure that quality objectives, including those necessary to meet applicable legal and product requirements, are established at relevant functions and levels within the organization? Are quality objectives measurable and consistent with the quality policy? |  |  |
| 5.4.2. QMS Planning |  |  |
| Senior management; a) Planning the quality management system to meet the requirements specified in 4.1 as well as the quality objectives, b) when changes to the quality management system are planned and implemented, does it ensure that the integrity of the quality management system is maintained? |  |  |
| 5.5. Responsibility, Authority and Communication |  |  |
| 5.5.1. Responsibility and authority |  |  |
| Is there an organizational chart? |  |  |
| Have authorities and responsibilities been defined? |  |  |
| Have the interrelationships of personnel who manage, perform and verify work affecting quality been specified and the necessary authority and independence provided? |  |  |
| Are powers of attorney determined? |  |  |
| Are employees aware of their responsibilities and authorities? |  |  |
| 5.5.2. Management representative |  |  |
| Has senior management appointed a management representative? Is there an appointment letter? |  |  |
| Is the management representative empowered to achieve quality requirements? |  |  |
| Is a performance report on the QMS submitted to senior management? |  |  |
| 5.5.3. Internal Communication |  |  |
| Is effective internal communication ensured? What methods have been determined for internal communication? |  |  |
| 5.6. Management Review |  |  |
| 5.6.1. General |  |  |
| Has the procedure for YGG been published? |  |  |
| Are reviews scheduled at regular intervals? |  |  |
| Is the date of the last YGG meeting stated? |  |  |
| Has the necessary announcement been made before the YGG meeting? |  |  |
| Is there an evaluation of improvement opportunities and the need for changes to the quality management system, including the quality policy and quality objectives, at the meeting? Are records kept? |  |  |
| 5.6.2. Review input |  |  |
| Management review input should include, but is not limited to, the following information: a) feedback, b) handling complaints, c) reporting to regulatory authorities, d) inspections, e) monitoring and measuring processes, f) monitoring and measuring the product, g) corrective action, h) preventive action, i) follow-up activities from previous management reviews, j) changes that may affect the quality management system, k) suggestions for improvement, l) new or revised applicable legal requirements. |  |  |
| 5.6.3. Review output |  |  |
| the YGG Outputs include the improvements required to maintain the suitability, adequacy and effectiveness of the QMS and its processes? |  |  |
| Do YGG Outputs include improvement of the product in relation to customer requirements? |  |  |
| the YGG Outputs include the changes needed to evaluate new or revised applicable legal requirements? |  |  |
| Do YGG Outputs identify resource needs? |  |  |
| 6. Resource Management |  |  |
| 6.1. Provision of Resources |  |  |
| the QMS , maintain its effectiveness, and meet customer and regulatory requirements? |  |  |
| 6.2. Human resources |  |  |
| document the processes necessary to establish competence, provide necessary training, and ensure staff awareness? |  |  |
| Are the personnel performing work affecting product quality competent in terms of education, training, skills and experience? |  |  |
| Has the organization determined the competence requirements for personnel performing work affecting product quality? |  |  |
| Does the organization provide training or implement necessary activities to achieve or maintain the required competence? |  |  |
| Has the organization ensured that its personnel are aware of the relevance and importance of their work in achieving the quality objectives and how they contribute to achieving them? |  |  |
| Is orientation training provided for new personnel? |  |  |
| Is the effectiveness of the activities/trainings performed evaluated? |  |  |
| Are the necessary records kept regarding education, training, skills and experience? |  |  |
| Is the method used to control activity proportionate to the risk associated with the work for which training or other activities are provided? |  |  |
| 6.3. Infrastructure |  |  |
| documented to prevent product mix-ups and ensure proper product processing and meet product specifications? |  |  |
| Are the adequacy and continuity of the building, workspace, process equipment, hardware, software, transportation, communications, information systems, etc. ensured? |  |  |
| maintenance activities affecting product quality and requirements regarding the periodicity of maintenance activities documented? (When applicable, do maintenance activities include equipment used in production and equipment for controlling, monitoring and measuring the working environment?) |  |  |
| Are maintenance records kept? |  |  |
| 6.4. Working Environment and Pollution Control |  |  |
| 6.4.1. Working Environment |  |  |
| been documented to ensure product suitability ? |  |  |
| If the work environment has a negative impact on product quality, are the work environment requirements documented and procedures established for monitoring and controlling the work environment? |  |  |
| If contact between personnel and the product or the work environment could adversely affect the quality of the product, are the requirements for personnel health, cleanliness and clothing documented? |  |  |
| Is it ensured that all personnel who need to work temporarily under special environmental conditions in the work environment are competent or under the supervision of competent personnel? |  |  |
| 6.4.2. Pollution Control |  |  |
| documented to prevent the contaminated or potentially contaminated product from contaminating other products, the work environment, and working personnel? |  |  |
| documented to control contamination by microorganisms or particulate matter and to ensure that cleanliness is maintained during packaging or assembly? |  |  |
| 7. Product Realization |  |  |
| 7.1. Planning of product realization |  |  |
| Are processes planned and developed? Product realization Is the planning consistent with the requirements of other processes of the quality management system? |  |  |
| Have product conditions been specified? |  |  |
| Have quality objectives and requirements been established for the product? |  |  |
| Have verification/validation/measurement/evaluation/inspection and testing/storage/distribution/monitoring and acceptance criteria been determined? |  |  |
| Are there records demonstrating compliance with these criteria? |  |  |
| Have risk analyses been conducted and recorded for the product? |  |  |
| documented for one or more processes related to product realization ? |  |  |
| Are risk management records kept? |  |  |
| 7.2. Customer-related processes |  |  |
| 7.2.1. Determination of product-related conditions |  |  |
| - Has the organization identified customer-specified requirements, including requirements for delivery and post-delivery activities? |  |  |
| - Have conditions not been declared by the customer, but which, if known, are specified or necessary for the intended use, been identified? |  |  |
| - Have the regulatory requirements applicable to the product been determined? |  |  |
| - Have the user training required to ensure the specified performance and safe use of the medical device been determined? |  |  |
| - Have any additional conditions been identified that the organization deems necessary? |  |  |
| 7.2.2. Review of product-related requirements |  |  |
| Does the organization review product requirements? Is this review conducted before the organization commits to supplying the product to the customer ( e.g. , issuing offers, accepting contracts or orders, accepting changes to contracts or orders), and does this review ensure that: |  |  |
| - Product requirements are defined and documented , |  |  |
| - Contract or order terms that differ from those previously expressed have been resolved, |  |  |
| - Applicable legal requirements are met |  |  |
| - Planning any user training defined and available |  |  |
| - The organization is capable of meeting the defined requirements. |  |  |
| Have records been kept of the review and the results of actions resulting from that review? |  |  |
| the customer does not declare the requirements in a document , are the customer requirements confirmed by the organization before acceptance? |  |  |
| product requirements change, does the organization ensure that appropriate documents are changed and relevant personnel are informed of the changed requirements? |  |  |
| 7.2.3. Communication |  |  |
| documented communication channels for product information, inquiries including changes, contracts or order distribution, customer feedback and customer complaints, and advisory notices ? |  |  |
| Does the organization communicate with regulatory authorities regarding applicable legal requirements? |  |  |
| 7.3. Design and Development |  |  |
| 7.3.1. General |  |  |
| Has a procedure been established for design and development? |  |  |
| 7.3.2 Design and development planning |  |  |
| Does the organization plan and control the design and development of the product? To the extent applicable, design and development planning documents maintained and updated as design and development progress? |  |  |
| Document the following during design and development planning? a) design and development stages, b) the review(s) required at each design and development stage, c) verification, validation and design transfer activities as appropriate at each design and development stage d) authority and responsibility for design and development, e) methods to ensure traceability of design and development outputs to design and development inputs, f) necessary resources, including the necessary competencies of the personnel. |  |  |
| 7.3.3 Design and development inputs |  |  |
| Have inputs related to product requirements been determined and records maintained? Do these inputs include the following? a) functional, performance, usability and safety requirements according to the intended use, b) applicable legal requirements and standards, c) applicable output(s) of risk management, d) where appropriate, information from previous similar designs, e) other requirements essential for the design and development of products and processes |  |  |
| Are design inputs reviewed and approved for adequacy? |  |  |
| Are the requirements complete, precise, non-conflicting, verifiable, or validated? |  |  |
| 7.3.4 Design and development outputs |  |  |
| Design and development outputs; a) meets the requirements of design and development inputs, b) providing appropriate information regarding purchasing, production and service delivery, c) contains or refers to product acceptance criteria, d) Does it specify the characteristics essential for the safe and proper use of the product? |  |  |
| Are design and development outputs in a form suitable for verification against design and development inputs? |  |  |
| Are design and development deliverables approved before release? |  |  |
| Are records of design and development outputs maintained? |  |  |
| 7.3.5 Design and development review |  |  |
| a) to assess the adequacy of the design and development results in meeting the requirements, b) Is design and development systematically reviewed to identify and recommend necessary actions? |  |  |
| Are records of the results of the review and any necessary actions maintained and include a description of the design reviewed, the participants involved in the activity, and the date of the review? |  |  |
| 7.3.6 Design and development validation |  |  |
| document validation plans that include statistical techniques with justification for methods, acceptance criteria, and sample size, as applicable ? |  |  |
| Does design and development validation ensure that design and development outputs meet design and development input requirements? |  |  |
| If the intended use of a medical device requires it to be connected to or interfaced with another device, does verification include determining that the design inputs correspond to the design outputs? |  |  |
| Are records of the results of verification and any necessary actions maintained? |  |  |
| 7.3.7 Validation of design and development |  |  |
| Is validation of design and development carried out in accordance with planned and documented arrangements to ensure that the final product is capable of meeting the requirements for the stated application or intended use ? |  |  |
| document validation plans that include methods, acceptance criteria, and statistical techniques with justification for sample size, as applicable ? |  |  |
| Is design validation performed on a representative product? The representative product is the initial production units , batches or their equivalents? Reasons for selecting the product used for validation recorded ? |  |  |
| As part of the validation of the design and development, has the organization conducted a clinical evaluation or performance assessment in accordance with applicable legal requirements? |  |  |
| Is it ensured that the device used for clinical evaluation or performance assessment is not released for client use? |  |  |
| If the intended use of a medical device requires it to be connected to or interfaced with another device, does validation include ensuring that the specific application or intended use is fulfilled? |  |  |
| Has validation been completed before the product is made available to the customer? |  |  |
| Are records maintained of the results of validation and required actions? |  |  |
| 7.3.8 Design and development transfer |  |  |
| documented procedures for transferring design and development outputs to production? |  |  |
| Does this procedure ensure that production meets design and development outputs accurately before production capability and final production specifications are determined to meet product requirements? |  |  |
| Are records of results kept? |  |  |
| 7.3.9 Control of design and development changes |  |  |
| document procedures for controlling design and development changes? |  |  |
| Has the organization determined the significance of the change to the function, performance, usability, safety, and applicable legal requirements related to the medical device and its intended use? |  |  |
| Have design and development changes been identified? Are design and development changes reviewed, verified, validated, and approved, as appropriate, before implementation? |  |  |
| Have design and development changes been reviewed to assess their impact on key parts of the device, products in production or already delivered, and the inputs or outputs of risk management and the product realization process? |  |  |
| Are records maintained of changes, review of changes, and necessary actions? |  |  |
| 7.3.10 Design and development files |  |  |
| Does the organization maintain a design and development file for each type of medical device or group of medical devices? Does this file contain or reference records created to demonstrate compliance with design and development requirements and records related to design and development changes? |  |  |
| 7.4. Purchasing |  |  |
| 7.4.1. Purchasing process |  |  |
| documented a procedure to ensure that purchased product complies with specified purchase requirements? |  |  |
| Has the organization established criteria for evaluating and selecting suppliers based on the following? a) the supplier's ability to provide products that meet the organization's requirements, b) according to the supplier's performance, c) according to the impact of the purchased product on the quality of the medical device, d) proportionate to the risk associated with the medical device. |  |  |
| Has the organization planned for monitoring and re-evaluation of suppliers? |  |  |
| Are the supplier's supplier performance requirements for the purchased product monitored? Do the monitoring results provide input into the supplier's re-evaluation process? |  |  |
| Are supplier selection and evaluation criteria proportional to the risk associated with the medical device? |  |  |
| Is the selection of the supplier justified in terms of compliance with applicable legal requirements regarding non-fulfillment of purchasing requirements and in proportion to the risk of the purchased product? |  |  |
| Is the type and extent of control applied to the supplier determined by the impact of the purchased product on production and completion of production? |  |  |
| Are records of the results of assessing, selecting, monitoring and reassessing supplier capability or performance, and all necessary actions resulting from these activities, maintained? |  |  |
| Are critical suppliers, subcontractors, and components identified? Is this identification consistent across all documents? Are the documents for these suppliers accessible? |  |  |
| Do these agreements allow both the company and the IFC to conduct unannounced inspections at the supplier's site? |  |  |
| Is there an OEM supplier? Is this supplier identified? Are adverse event notification requirements defined in the agreement with this supplier? |  |  |
| 7.4.2. Purchasing information |  |  |
| Does the purchase information describe or reference the product to be purchased, including, if appropriate, the following? a) product features, b) requirements for product acceptance, procedures, processes and equipment, c) requirements regarding the qualifications of supplier personnel, d) quality management system requirements. |  |  |
| Has the organization ensured that the purchasing conditions are sufficient before contacting the supplier? |  |  |
| Does the purchasing information, when applicable, include a written agreement that the supplier will notify the organization of any changes that may affect the specific purchasing conditions of the purchased product before such changes are implemented? |  |  |
| Does the organization maintain relevant purchasing information (documents and records) to the extent required in Article 7.5.9 regarding traceability? |  |  |
| 7.4.3. Verification of purchased product |  |  |
| Does the organization establish and implement inspections or other necessary activities to ensure that purchased product meets specified purchasing requirements? Is the extent of verification activities based on supplier assessment results and commensurate with the risk associated with the purchased product? |  |  |
| When the organization becomes aware of any changes to the purchased product, does it determine whether these changes affect the product realization process or the medical device? |  |  |
| If the organization or its customer intends to perform verification at the supplier's premises, does the organization specify in the purchasing information the arrangements for the intended verification and the method of product release? |  |  |
| Are verification records maintained? |  |  |
| 7.5. Production and service provision |  |  |
| 7.5.1. Control of production and service provision |  |  |
| Are production and service delivery planned, performed, monitored and controlled to ensure that product conforms to specifications? Do production controls include, but are not limited to, the following, to the extent applicable? a) documentation of procedures and methods for controlling production (see 4.2.4); b) the nature of the infrastructure, c) implementation of monitoring and measurement of process parameters and product characteristics, d) availability and use of monitoring and measurement equipment, e) implementation of defined processes for labeling and packaging, f) product release, delivery and implementation of post-delivery activities. |  |  |
| Does the organization create and maintain a record (Article 4.2.5) for each batch of medical devices to ensure traceability to the extent specified in Article 7.5.9 and to demonstrate the quantity of devices manufactured and approved for distribution? Is the record created for the batch verified and approved? |  |  |
| Do all critical processes specified in the company's production flow chart match the field inspection? |  |  |
| 7.5.2. Cleaning the Product |  |  |
| documented requirements for product cleaning and contamination control for the following situations ? a) If the product is subject to sterilization and/or cleaning before use b) If the product is supplied non-sterile to be subjected to a cleaning process before sterilization and/or use c) If the product cannot be sterilized and cleaned before use, but cleaning is important during use. d) If the product is provided for non-sterile use and its cleanliness is important during use. e) If the active substances used in the process are removed from the product during manufacturing the product is cleaned according to a) or b) above, the conditions in b) of Article 6.4.1 do not apply before the cleaning process. |  |  |
| 7.5.3. Installation Activities |  |  |
| Where appropriate, has the company established documentation containing acceptance criteria for the installation of the medical device and verification of the installation? |  |  |
| If the agreed customer requirements allow the installation of the medical device to be performed by an external party other than the organization or its authorized representative, have documented requirements been established for the medical device installation and installation and verification processes? |  |  |
| Are records maintained of the installation and verification of the installation carried out by the organization or its authorized representative? |  |  |
| 7.5.4. Service Activities |  |  |
| If service is a specified requirement, has the organization established documented procedures, work instructions, reference materials, and, if necessary, reference measurement procedures to perform service activities and verify that specified requirements are met? |  |  |
| Does the organization analyze the records related to the service activities carried out by itself or its suppliers in line with the following points? a) Handling the information received as a complaint b) Input into improvement processes where applicable |  |  |
| Are records of the organization's or its supplier's service activities maintained? |  |  |
| 7.5.5. Special Requirements for Sterile Medical Devices |  |  |
| Does the organization maintain records of the sterilization process parameters used for each sterilization batch? Are sterilization records traceable to each production batch of medical devices? |  |  |
| 7.5.6. Validation of Processes for Product and Service Provision |  |  |
| Does the organization validate production and service delivery processes where the output cannot be verified by subsequent monitoring and measurement ? This includes any processes where defects become apparent only after the product is in use or the service has been provided . |  |  |
| Has the organization established procedures for Validation of Processes, including the following? a) defined criteria for review and approval of processes, b) equipment and personnel qualifications, c) use of specific methods, procedures and acceptance criteria, d) statistical techniques, including sample sizes with justification, to the extent applicable, e) requirements regarding records (see 4.2.5), f) revalidation (including criteria for revalidation), g) approval of changes made to processes. |  |  |
| document procedures for validating the implementation of computer software used in production and service delivery ? Are such software applications validated before initial use and, if appropriate, after any changes to the software or its implementation? Are the specific approaches and activities for validating and revalidating software proportionate to the risk associated with using the software, including its impact on the product's ability to conform to specifications? |  |  |
| Are records kept of validation results and necessary actions resulting from validation? |  |  |
| 7.5.7. Specific requirements for validation of processes for sterilization and Sterile Barrier Systems |  |  |
| documented procedures for validation of sterilization and sterile barrier systems processes ? |  |  |
| Are sterilization and sterile barrier systems processes validated before implementation and, if necessary, after product or process changes are made? |  |  |
| Are records kept of the activities required for validation and the validation results? |  |  |
| Are the following criteria for sterilization validation available? For radiation sterilization; method / bioburden / dose mapping / dose verification / sterility testing / chemical and biological indicator / irradiation certificate / sample selection criteria / revalidation criteria etc. For Ethylene Oxide sterilization; IQ / OQ / PQ / method / bioburden / sterility test / chemical and biological indicator / temperature, humidity, pressure sensors and layout plan / amount of gas used / ethylene oxide residue test / sample selection criteria / revalidation criteria etc. For steam sterilization; IQ/OQ/PQ/ method/bioburden/sterility test/chemical and biological indicator/temperature, humidity, pressure sensors and layout/leak test/Bowie-Dick test/sample selection criteria/revalidation criteria etc. For dry air sterilization; IQ/OQ/PQ/ method/bioburden/sterility test/chemical and biological indicator/temperature sensors and layout/sample selection criteria/revalidation criteria etc. Aseptic filling IQ, OQ, PQ/ method / bioburden / sterility test / revalidation criteria / test frequency / confidence level / acceptance criteria / medium selection / charge records |  |  |
| 7.5.8. Definition |  |  |
| the organization defined the product by appropriate means throughout product realization and has it established a documented procedure for this product definition process ? |  |  |
| Has the organization defined product status regarding monitoring and measurement requirements throughout product realization? |  |  |
| Is the identification of the product status maintained during production, storage, installation and service in a way that ensures that the product in question has passed the necessary inspections and tests or has been released, used or installed by an authorized person? |  |  |
| documented a system for assigning unique device codes to medical devices when required by applicable legal requirements ? |  |  |
| Has the organization established a documented procedure to identify returned medical devices and distinguish them from compliant products ? |  |  |
| 7.5.9. Traceability |  |  |
| 7.5.9.1. General |  |  |
| documented procedures for traceability ? Do these procedures define the extent of traceability in accordance with applicable legal requirements and records maintained? |  |  |
| 7.5.9.2. Specific requirements for implantable medical devices |  |  |
| When defining the records required for traceability, does the organization also maintain records of all components, materials, and operating conditions that could cause the medical device to fail to meet specified specifications? |  |  |
| To ensure traceability, has the organization required its agents and distributors to maintain medical device distribution records and make such records available for review? |  |  |
| Is the name and address of the recipient of the package recorded? |  |  |
| 7.5.10. Customer property |  |  |
| Does the organization identify, verify, protect, and ensure the safety of customer property provided for use or incorporation into products while under the organization's control or in use by the organization? If any customer property is lost, damaged, or otherwise rendered unfit for use, does the organization notify the customer and maintain records? |  |  |
| 7.5.11. Storage of the product |  |  |
| Has the organization established procedures to maintain the conformity of the product, including the medical device and its components, during processing, storage, packaging and distribution? |  |  |
| Does the organization protect the product from alteration, contamination, or damage when exposed to expected conditions and hazards during processing, storage, transportation, and distribution by designing appropriate packaging and shipping containers and documenting the requirements of special conditions if packaging alone cannot provide protection ? |  |  |
| If special conditions are required, are they controlled and recorded? |  |  |
| 7.6. Control of monitoring and measuring devices |  |  |
| the organization determined the monitoring and measurement procedures and the monitoring and measurement devices required to provide evidence of product conformity with the specified requirements? |  |  |
| Has the organization established documented procedures to ensure that monitoring and measurement can be performed and are consistent with the monitoring and measurement requirements ? |  |  |
| Where necessary, measuring equipment to ensure validity of results; a) calibrated or verified, or both, at specified intervals or before use, with measurement standards traceable to international or national measurement standards; in the absence of such standards, the basis for calibration and verification it being recorded ? b) Are they adjusted or readjusted as necessary? Are such adjustments or readjustments recorded? c) Is it defined in a way that allows the calibration status to be determined? d) are they secured against adjustments that could invalidate the measurement result? e) Is it protected against damage and deterioration that may occur during handling, maintenance and storage? |  |  |
| Does the organization perform calibration or verification in accordance with documented procedures? |  |  |
| Does the organization assess and record the validity of previous measurement results when equipment is found not to conform to requirements? Does the organization take the necessary action regarding the equipment and the affected product? |  |  |
| Are records of calibration and verification results maintained? |  |  |
| document procedures for validating the implementation of computer software used in monitoring and measurement requirements ? Are such software applications validated before initial use and, if appropriate, after any changes to the software or its implementation? Are the specific approaches and activities for validating and re-validating software proportionate to the risk associated with using the software, including its impact on the product's ability to conform to specifications? |  |  |
| Are records kept of the results and implications of validation and any necessary actions resulting from it? |  |  |
| 8. Measurement, analysis and improvement |  |  |
| 8.1. General |  |  |
| Does the organization plan and implement the monitoring, measurement, analysis and improvement processes necessary to demonstrate product conformity, ensure the conformity of the quality management system and maintain the effectiveness of the quality management system? Do these processes include the determination of appropriate methods, including statistical techniques and the extent to which these techniques will be used? |  |  |
| 8.2. Monitoring and measurement |  |  |
| 8.2.1. Feedback |  |  |
| Does the organization monitor information regarding whether it meets customer requirements as one of the measures of quality management system performance? |  |  |
| Have methods been established for obtaining and using this information? |  |  |
| documented procedures for the feedback process ? Does this feedback process include requirements for collecting data on post-production activities as well as post-production data? |  |  |
| Does the information collected during the feedback process constitute a potential input to risk management for monitoring and maintaining product requirements as well as product realization or improvement processes? |  |  |
| If applicable legal requirements require the organization to gain experience from the post-production phase, does reviewing this experience form part of the feedback system? |  |  |
| 8.2.2. Handling of Complaints |  |  |
| Has the organization established a procedure for handling complaints in a timely manner in accordance with applicable legal requirements? |  |  |
| Do these procedures include minimum requirements and responsibilities for: a) receiving and recording information, b) evaluate the information to determine whether the feedback constitutes a complaint, c) reviewing complaints, d) determining whether the information should be reported to the relevant regulatory authorities, e) Handling the product that is the subject of the complaint, f) Determining whether correction or corrective actions should be initiated. |  |  |
| If a complaint is not investigated, is the reason documented ? |  |  |
| the results of any corrections or corrective actions resulting from the complaint-handling process documented ? |  |  |
| If investigations determine that activities outside the organization contributed to the customer complaint, is relevant information exchanged between the organizations involved? |  |  |
| Are records of complaint handling kept? |  |  |
| 8.2.3. Reporting to regulatory authorities |  |  |
| If applicable legal requirements require the issuance of complaint reports or advisory notices that meet established “adverse event reporting criteria,” has the organization documented procedures for providing notification to relevant regulatory authorities ? |  |  |
| Are records kept for reporting to legal authorities? |  |  |
| Is there a system to generate a PSUR report for MDR? Is the PSUR document updated annually for class IIb and III products? Is the PSUR document updated every two years for class IIa products? PSUR documents uploaded to EUDAMED for class III and implantable devices or is the required notification method defined until EUDAMED becomes fully active? |  |  |
| Has a system for recall and field safety corrective actions been defined? Does this system provide information on current and reported rules? Does this system require informing the IFC and the competent authority? Have recall and field safety corrective actions been effectively implemented? |  |  |
| Is there a system for generating trend reports? Has this system been defined using statistical methods? Have baselines and thresholds been defined? Are significant increases identified? Does the system specify the use of EUDAMED to notify users of significant increases? Are trend analysis records available and maintained? |  |  |
| Has the organization established a documented procedure for adverse event reporting and vigilance systems ? Does the process meet the requirements of regulation (EU) 2017/745? Are adverse event reporting records maintained? Have there been any adverse event reports before? Have the processes been followed correctly? Have processes been defined for reporting serious incidents and field safety corrective actions in the event of vigilance ? Have the requirements and reporting method for Adverse Events to the Competent Authority been defined? Do these procedures define that adverse events must also be reported to the IFC? |  |  |
| Have methods and responsibilities for communication with the notified body been established? Have methods been defined to control design changes? Has a system been established to notify the Notified Body of design changes? Is the method of notification of changes to be made to the Notified Body correctly defined? Is the IFC 's change notification form defined in this section ? Which procedure defines that IFC must be informed and its approval must be obtained when a decision is made to make a critical change in product design ? |  |  |
| 8.2.4. Internal Audit |  |  |
| Has the organization established a procedure to define the requirements and responsibilities for planning and conducting audits and recording and reporting audit results? |  |  |
| Is it being implemented effectively and maintained continuously? |  |  |
| Are internal audits scheduled at regular intervals and defined in the procedure? |  |  |
| the organization conduct its internal audit process in accordance with the QMS requirements, this standard and the legislative requirements ? |  |  |
| Has an internal audit program been prepared, taking into account the status and importance of the areas and processes to be audited and the results of previous internal audits? |  |  |
| Have the audit criteria, scope, range and methods been defined and recorded? |  |  |
| Are the auditors impartial/independent? Is internal auditor training or certification available? |  |  |
| Are audit results communicated to responsible personnel? |  |  |
| Are audit results recorded? |  |  |
| Are corrective actions initiated for audit nonconformities? |  |  |
| 8.2.5. Monitoring and measuring processes |  |  |
| Does the organization implement appropriate methods to monitor and, where appropriate, measure QMS processes? Do these methods demonstrate that the processes are achieving planned results? Are corrections and corrective actions implemented when planned results are not achieved? |  |  |
| 8.2.6. Monitoring and measuring the product |  |  |
| Does the organization monitor and measure product characteristics to verify that product requirements are met? |  |  |
| this monitoring and measuring carried out at appropriate stages of the product realization process, according to planned arrangements and documented procedures? |  |  |
| Is there objective evidence demonstrating the suitability of the acceptance criteria? |  |  |
| Have the person(s) authorized to release the product been identified? |  |  |
| Where applicable, do the records identify the test equipment used in my measurement activities? |  |  |
| planned and documented arrangements have been satisfactorily completed? |  |  |
| For Implantable Medical Devices, are the identities of personnel performing any examination or testing recorded? |  |  |
| 8.3. Control of non-conforming product |  |  |
| 8.3.1. General |  |  |
| documented a procedure that defines the documentation, separation, evaluation, disposal, controls, and related responsibilities and authorities for nonconforming product ? |  |  |
| Does the assessment of non-compliance include determining the need for investigation and notifying parties outside the responsible agency? |  |  |
| Are records kept of the nature of the nonconformities and the subsequent measures taken, if any, including the reasons for the review, evaluation and decision? |  |  |
| 8.3.2. Activities Regarding Non-Conforming Products Detected Before Delivery |  |  |
| Does the organization handle nonconforming product in one or more of the following ways? a) taking measures to eliminate the detected nonconformity, b) taking measures to prevent the use or application of the product as originally intended, c) authorizing the use, release or conditional acceptance of non-conforming product. |  |  |
| Does the organization ensure that conditional acceptance of nonconforming products occurs only if justification is provided, approval is obtained, and legal requirements are met? Are records maintained regarding the conditional acceptance of nonconforming products and the identity of the person authorized to accept them? |  |  |
| 8.3.3. Activities Regarding Non-Conforming Products Detected After Delivery |  |  |
| When nonconforming product is discovered after delivery or after use has commenced, does the organization take appropriate action and maintain records to address the effects or potential effects of the nonconformity? |  |  |
| documented procedures for issuing advisory statements in accordance with applicable regulatory requirements ? Are these procedures applicable at all times? |  |  |
| Are records kept regarding the publication of advisory notices? |  |  |
| 8.3.4. Reprocessing |  |  |
| documented procedure for reprocessing been established, taking into account the potential adverse effects of reprocessing on the product? Is this procedure subject to the same review and approval process as the original procedures? |  |  |
| After reprocessing is completed, is the product verified to ensure it meets appropriate acceptance criteria and regulatory requirements? |  |  |
| Are rework records kept? |  |  |
| 8.4. Data Analysis |  |  |
| Has the organization established a procedure to identify, collect and analyse appropriate data to demonstrate the suitability, adequacy and effectiveness of the quality management system? Does this procedure include the determination of appropriate methods, including statistical techniques and the extent of their use? |  |  |
| Analysis of data, data obtained from monitoring and measurement results and from other relevant sources a minimum , input from: a) feedback, b) conformity with product requirements, c) characteristics and trends of processes and products, including opportunities for improvement, d) suppliers, e) examinations, f) service reports, if appropriate. |  |  |
| If analysis of data indicates that the quality management system is not suitable, adequate or effective, does the organization use this analysis as input for improvement as specified in Clause 8.5? |  |  |
| Are records of data analysis results kept? |  |  |
| 8.5. Continuous improvement |  |  |
| 8.5.1. General |  |  |
| Does the organization define and implement any changes necessary to ensure the continued suitability, adequacy and effectiveness of the quality management system as well as the safety and performance of medical devices, using the quality policy, quality objectives, audit results, post-marketing surveillance, data analysis, corrective and preventive actions and management review? |  |  |
| Has a post-sales surveillance system been established for product types in accordance with their risk class? documented procedures for post-sale surveillance activities ? Are post-sale surveillance records kept? |  |  |
| Is Post-Market Surveillance Data used for the defined situations? a) To update benefit risk assessment and improve risk management, b) To update design and production information, user manual and labeling, c) To update the Clinical Assessment, d) To update the safety and clinical performance report summary, e) Determining the needs for field security corrective action, corrective action or preventive action, f) Determining possibilities to increase the performance, safety and usability of the Medical Device, g) To contribute to the post-sale surveillance of other devices, where relevant, h) To identify and report trends. |  |  |
| Is there a post-sale surveillance plan? Is this plan designed to obtain the following information? - Information on serious accidents, including field safety corrective actions and information from PSUR; - Records referring to any adverse event data and non-serious accidents; - Information from Trend Reporting; - Relevant specialist or technical literature, databases and/or records; - Information, including feedback and complaints provided by importers, distributors and users; and - Publicly available information about similar medical devices. |  |  |
| Is there a PMCF plan that is not included in the PMS plan? (To identify gaps, please see further details in MDCG 2020-7.) - information including feedback/surveys and complaints provided by users, distributors and importers; and — publicly available information about similar medical devices, such as device registrations. — PMCF studies, — Evidence of planned implementation ( real-world evidence ) — Definition of the purpose of the plan, — Description of the PMCF source (such as NB, CER Report, PMS, Risk Report, previous PMCF report, etc.), - Description and justification of the procedures to be used for PMCF, - Timetables, with its date and version , reference to harmonized standards , common specifications or applicable guidance documents, - Evaluation of equivalent or similar devices, - Estimated data of PMCF evaluation report. |  |  |
| 8.5.2. Corrective action |  |  |
| Does the organization take corrective action to eliminate the causes of nonconformity in order to prevent recurrence? Are corrective actions carried out without delay? Corrective actions are performed as soon as possible proportionate to the effects of the nonconformities ? documented a procedure to define requirements for : a) review of nonconformities (including complaints), b) determining the causes of nonconformities, c) Assess the need for action to ensure that nonconformities do not reoccur, documenting and implementing the required action, including updating documentation as appropriate, e) verify that the corrective action does not adversely affect the safety and performance of the medical device or its ability to meet applicable legal requirements, f) reviewing the effectiveness of the corrective action taken. |  |  |
| Are records of the results of all investigations and measures taken kept? |  |  |
| Is the post-sales surveillance system linked to the corrective action system? |  |  |
| 8.5.3. Preventive Action |  |  |
| Does the organization determine actions to eliminate the causes of potential nonconformities to prevent their occurrence? Are preventive actions proportional to the impact of potential problems? documented a procedure to define requirements for : a) Determination of possible non-conformities and their causes, b) Assess the need for action to prevent non-compliances from occurring, documenting and implementing the required action, including updating documentation as appropriate, d) verify that the activity does not adversely affect the safety and performance of the medical device or its ability to meet applicable legal requirements, e) reviewing, as appropriate, the effectiveness of the preventive action taken. |  |  |
| Are records of the results of all investigations and measures taken kept? |  |  |
| Is the post-sales surveillance system linked to the preventive action system? |  |  |
| ADDITIONAL QUESTIONS * Not filled in during certification audits. |  |  |
| Where are the logo and other certification documents, if any, used?* |  |  |
| the terms of the logo usage instructions followed ?* |  |  |
| its use on the product prohibited ?* |  |  |
| If the medical device is also a machine, has it been assessed whether the essential requirements of the machinery directive are met? |  |  |
| If the medical device is also personal protective equipment, has a certified body stepped in? |  |  |
| Were any changes made to the plan during the audit? If so, what are they? Is there a significant situation that will affect the audit program? |  |  |
| Evaluate whether the audit achieved the following objectives. - To assess the conformity of the organization's management system (or parts thereof) to the audit criteria. - Assessing the organization's management system's capacity to meet legal, regulatory and contractual requirements - Evaluating whether the objectives set by the organization's management system are being met effectively. - Determining the aspects of the organization's management system that are open to development |  |  |
| Does the company have a commitment to maintaining the system for the next 3 years? |  |  |
| Certificate validity and scope change control |  |  |
| Monitoring the effectiveness of corrective actions regarding nonconformities/observations identified in the previous audit |  |  |

|  | Certification Manager |
| --- | --- |
|  | Signature |
|  | [SIG:CB_CERT_MANAGER] |